## EQUIPMENT Check up
Description | Name | Brand | Type/Ordernumber | Serialnumber | Location | Comment
PCR-machine | MasterCycler Nexus | Eppendorf | 6331 | 6331BO302550 | V534
Fridge/Freezer |  | Whirlpool |  |  | V534
Balance | S-234 | Denver | S-234 | 27609416 | V534 | max = 230g, d = 0.1 mg
pH-meter | FiveEasy FE20 | Mettler Toledo | FiveEasy FE20 | 1228235474 | V534
Magnetic stirrer + heater |  | Heidolph | MR3001K | 089829677 | V534
Microwave | WaveDom | LG | 3850W3W023E | 69-7NE04680-000414 | V534
Vortex | Topmix | Fisher Scientific | FB15024 | 237438 | V534
Centrifuge | MicroStar 12 | VWR | MicroStar 12 | VWS22512040294 | V534 | for eps, DOM = 05/04/2012
Centrifuge | Microfuge16 | Beckman Coulter | A46473 | MBB12J009 | V534 | for eps
PCR-machine | MyCycler Thermal Cycler | BioRad | MyCycler Thermal Cycler | 580BR09911 | V534
Power source for electroforese | PowerPac Basic | BioRad | PowerPac Basic | 041BR73699 | V534
Power source for electroforese | PowerPac HC | BioRad | PowerPac HC | 043BR16650 | V534
Tank for electroforese | MiniProtean 3 Cell | BioRad | MiniProtean 3 Cell | 525BR079913 | V534 | vertical
Tank for electroforese | MiniProtean 3 Cell | BioRad | MiniProtean 3 Cell | 525BR080874 | V534 | vertical
Tank for electroforese | MiniSub Cell GT | BioRad | MiniSub Cell GT | 712BR07420 | V534 | horizontal
Tank for electroforese | MiniSub Cell GT | BioRad | MiniSub Cell GT | 329BR003632 | V534 | horizontal
Tank for electroforese | MiniSub Cell GT | BioRad | MiniSub Cell GT | 329BR003602 | V534 | horizontal
Tank for electroforese | MiniSub Cell GT | BioRad | MiniSub Cell GT | 329BR003513 | V534 | horizontal
Tank for electroforese | MiniSub Cell GT | BioRad | MiniSub Cell GT | 329BR003763 | V534 | horizontal
Kitchen Blender |  | SEB | 8115 |  | V534
Blender |  | Hamilton Beach | GB26 | D5080L00094 | V534
Fume hood |  |  |  |  | V534 | v= 0.33m/s, next control nov 1996
Microcentrifuge |  | (ordered via Starlab) | C1301B-230V | 1206 1088 | V534 | Arr date = 04 jan 2013
Cryofreezer |  | Snijders Scientific | UFE440-86E | EF409386 | V535
LAF class II | Bio II Advance | Telstar |  |  | V535 | last control sept 2012 (testreportn° = 767078) | Intern codenummer FC100
Spectrofotometer | Smart Spec Plus Spectrofotometer | BioRad | Smart Spec Plus Spectrofotometer | 273BR03800 | V535
Air sampler | Coriolis | Bertin Technologies | Coriolis µ | 05027-612-RD001-236 | V535
Balance | BP121S | Sartorius | BP121S | 12509428 | V535 | max = 120g, d = 0.1 mg
Incubator |  | Memmert | INB200 | E206.0617 | V535
Centrifuge | Sigma 2-16k | Fisher Bioblock Scientific | Sigma 2-16k | 117179 | V535 | for falcontubes 15ml + 50ml and for eps
Blender | A10 | IKA werk | A10 B | 01.809420 | V535
MilliQ apparatus | Silex 1B | Silhorko/Eurowater | Silex 1B/ST3 | 2261 | V535
Warm water bath |  | Memmert | WNB7 | L.206.0251 | V535
Shake plate |  | IKA | KS260B | 06045082 | V535 | in refrigerated room
Heat block | Dry bath system | Starlab | N2400-4002 | 121123008 | V535 | Arr date = 04 jan 2013
Digital thermometer |  | Ebro | TTX100 type T | 50023313 | V535 | recovered from V6
pH & temperature meter | pH & Temperature Pen pH10 | VWR | pH10 | JC000183 | V535 | recovered from V6
Vortex |  | Labinco bv | L24 | 891108 / 480540 | V535 | recovered from V6
Microplate Reader | EZ Read 400 | Biochrom | EZ Read 400 ELISA/80-4001-40 | 504259 | V535 | Arr date = 21 dec 2012
Mixer (?) | RE16 | IKA-Labortechnik | RE16 | 350046 | V535
Mixer (?) | RE16 | IKA-Labortechnik | RE16 | 169685 | V535
Magnetic stirrer (controle unit only) | VarioMag BioModul 40B controle unit | H+P Labortechnik | 90740 |  | V535
Magnetic stirrer (controle unit only) | VarioMag BioModul 40B controle unit | H+P Labortechnik | 90740 |  | V535
Timer/stopwatch (one chanel) | Digital Timer | Fisher Scientific |  |  | V534/V535 | 3 pieces, Arr date = 10 jan 2013
Timer/stopwatch (three chanels) |  | Fisher Scientific | 57901 | 122707146 / 122707195 / 122707196 | V534/V535 | 3 pieces, Arr date = 10 jan 2013
UV transiluminator |  | Fisher Bioblock Scientific | ECX-20M | 07 24703 | V537
? |  |  | DP-CF-011C | 08 201192 | V537
? Camera-adaptor |  |  | ? | 08 201192 | V537
Balance | S-234 | Denver | S-234 | 27810953 | V506 | max = 230g, d = 0.1 mg
Kitchen Blender |  | Moulinex |  |  | V506
Kitchen Blender |  | NINGBO | NDJ-X511 |  | V506
Kitchen Blender |  | DeLonghi | KG39 | 71915 | V506
Magnetisator + Magnetometer + laptop |  | Molspin | MiniSpin Standard Sample Version | ? | V506
Fume hood |  |  |  |  | V506 | v= 0.32m/s, next control apr 1999
Area meter | LI-3100 | LiCor Biosciences | LI-3100C | LAM1803 | V506
Balance | KERN CPB | KERN CPB | KERN CPB 15K0.5 | WP0702982 | V506 | max = 15kg, d = 0.5g
Vacuumpump |  | Vacuubrand | ME4RNT | 35467702 | V506
Vacuumpump |  | Vacuubrand | ME4RNT | 35467701 | V506 | Arr date = 24 jan 2013
Heating element for flask |  | Pilz | 62/500 | 268760 | V506 | for small flask
Heating element for flask |  | Pilz | 62/500 | 268756 | V506 | for small flask
Heating element for flask |  | Pilz | ? | 143094/642 | V506 | for big flask
Freezer |  | Whirlpool | CO500S | 300806010205 | V513
Freezer |  | Zanussi | ZFC638WA BMI 39 | 83310062 | V513
Chlorophyll content meter |  | Opti-Sciences | CCM-200 | 12J305 | V512
Chlorophyll content meter |  | Opti-Sciences | CCM-200 | 001892 | V512
Radiometer / light meter / photometer / UV meter |  | Solar Light Co | PMA2100 | 2564 | V512
Serial quantum sensor |  | Hansatech Instruments | SQS | 2802 | V512
Photo camera |  | Canon | DS126091 | 3331301354 | V512 | + 4 camera lenses and 2 stands
Photo camera | EOS 550D | Canon | DS126271 | 2433324724 | V512
Photo camera | EOS 1000D | Canon | DS126191 | 2450535558 | V512
GPS | One classis Europe | Tomtom | One classis Europe | Y75468A02546 | V512
GPS | XL classic Europe | Tomtom | XL classic Europe | RB6099A00163 | V512
GPS | GPS 60 Marine pack | Garmin | GPS 60 Marine pack | 16026018 | V512
GPS | eTrex Legend HCx | Garmin | eTrex Legend HCx | 16C313461 | V512
Hair dryer |  | Okoïa | HD24 |  | V512
Flatbed scanner | Canoscan Lide 700F | Canon | Canoscan Lide 700F | KDUA55204 | V512
Light armature (4x) |  | Hortilux Schréder | HS2000 |  | V512 | growht light
LiCor 6400 |  | LiCor Biosciences | 6400-3 | PSC-2016 | V512
Ecopress 4 plant moisture measurement |  | Ecotechnics |  |  | V512
Pressure Bomb | model 1000 | PMS instrument compagny | model 1000 |  | V512
Soil moisture kit | HH150 | AT Delta-T Devices |  | 502071 | V512
Soil moisture kit | HH150 | AT Delta-T Devices |  | 502072 | V512
Agrispec |  | Analytical Spectral Devices | ASP350-2500 | 2059A | V512 | trunk only!
Fume hood |  |  |  |  | V528
Autoclave |  | Astell | AMA440BT | CABN60939 | V528 | Inst date = 25 jan 2013
MilliQ apparatus | Silex 1B | Silhorko/Eurowater | Silex 1B/ST3 | 2260 | V528
Microscope | CX41 | Olympus | CX41RF | 8F04445 | V532
Desktop computer |  | Dell |  |  | V532
Agrispec |  | Analytical Spectral Devices | ASP350-2500 | 2059A | V532
Laptop |  |  |  |  | V532